# Water quick wins checklist

Use the checklist below to help implement quick wins that will help in reducing water usage, make your business more resource efficient, and save money.

|  | Regularly check for and fix leaks |
| --- | --- |
|  | Set up leak detection system |
|  | Regularly maintain and check hot water equipment and cooling towers |
|  | Ensure all hot water pipes, cylinders and valves are well insulated |
|  | Set water controls that match occupancy rates |
|  | Staff awareness training on water reduction and usage |
|  | Posters and guidance within communal areas to raise awareness |
|  | Fix automatic sensors on taps |
|  | Regularly check hot water temperatures – consider regulatory requirements, including legionella testing |
|  | Review the volume of water storage heaters and tanks – do they meet or exceed your needs? |
|  | Consider reusing water in manufacturing processes, set up a water reuse system |
|  | Install water filtration system |
|  | Review manufacturing processes |